## 2360-190602
| Survey No | INIS-103019-545 |  | Item Surveyed |  | Dance Floor Wooding Boards
| Date | 2019-10-28 |  | Comments
| Survey Tech | K. Whilte
| Count Room Tech | P. Ray |  | Parameters |  | Gamma |  |  | Total Activity |  |  |  | Removable Activity |  |  |  | 1.4142
| Date Counted | 2019-10-30 |  |  |  | CPM | µR/hr | µRem/hr | Alpha |  | Beta-Gamma |  | Alpha |  | Beta-Gamma |  | 1
| Survey Type | Characterization |  |  | Instrument Model |  |  |  | 2360/43-93 |  | 2360/43-93 |  | 2929/43-10-1 |  | 2929/43-10-1 |  | 1.4142
| Level of Posting | None |  |  | Instrument SN |  |  |  | 170573/PR295917 |  | 170573/PR295917 |  | 190602/PR199159 |  | 190602/PR199159 |  | 1.4142
Notes |  |  | Total Activity |  | Cal. Due Date |  |  |  | 2020-10-18 |  | 2020-10-18 |  | 2020-06-05 |  | 2020-06-05 |  | 14.1774
PCF = Probe Correction Factor |  |  | dpm = (cpm - Bcpm)/(eff * PCF) |  | Efficiency |  |  |  | 21.39% |  | 33.18% |  | 34.6% |  | 39.1% |  | 20.0499
Tb = Background count time |  |  | Removable Activity |  | Background Counts |  |  |  | 1 |  | 201 |  | 38 |  | 2649 |  | 1.0083
Ts = Sample count time |  |  | dpm = (cpm - Bcpm)/ eff |  | PCF |  |  |  | 1 |  | 1 |  | 1 |  | 1
Rb = Background count rate |  |  | *dpm results are per 100cm2 |  | Tb |  |  |  | 1 |  | 1 |  | 60 |  | 60 |  | #VALUE!
Bcpm = Background cpm |  |  |  |  | Ts |  |  |  | 1 |  | 1 |  | 1 |  | 1 |  | 1.0083
MDCR = Minimum Detectable Count Rate (net cpm) |  |  |  | MDCR |  |  |  |  | 7.6528 |  | 68.9643 |  | 5.64 |  | 25.042 |  | #REF!
MDC = Minimum Detectable Concentration (dpm per 100cm2) |  |  |  | MDC |  |  |  |  | 35.7773 |  | 207.849 |  | 16.3005 |  | 64.046
No. | Descriptions |  |  |  |  | cpm |  | µRem/hr | gross counts | *dpm | gross counts | *dpm | gross counts | *dpm | gross counts | *dpm
1 | Wooding boards (dance floor) | [7 empty] | 0 | -4.6751 | 184 | -51.2357 | 0 | -1.8304 | 42 | -5.4987
2 | Wooding boards (dance floor) | [7 empty] | 1 | 0 | 174 | -81.3743 | 0 | -1.8304 | 50 | 14.9616
3 | Wooding boards (dance floor) | [7 empty] | 0 | -4.6751 | 172 | -87.402 | 1 | 1.0597 | 34 | -25.9591
4 | Wooding boards (dance floor) | [7 empty] | 3 | 9.3502 | 199 | -6.0277 | 0 | -1.8304 | 45 | 2.1739
5 | Wooding boards (dance floor) | [7 empty] | 2 | 4.6751 | 185 | -48.2218 | 2 | 3.9499 | 62 | 45.6522
6 | Wooding boards (dance floor) | [7 empty] | 3 | 9.3502 | 200 | -3.0139 | 2 | 3.9499 | 36 | -20.844
7 | Wooding boards (dance floor) | [7 empty] | 0 | -4.6751 | 237 | 108.4991 | 0 | -1.8304 | 34 | -25.9591
8 | Wooding boards (dance floor) | [7 empty] | 1 | 0 | 179 | -66.305 | 2 | 3.9499 | 38 | -15.7289
9 | Wooding boards (dance floor) | [7 empty] | 2 | 4.6751 | 172 | -87.402 | 0 | -1.8304 | 30 | -36.1893
10 | Wooding boards (dance floor) | [7 empty] | 1 | 0 | 182 | -57.2634 | 0 | -1.8304 | 42 | -5.4987
11 | Wooding boards (dance floor) | [7 empty] | 0 | -4.6751 | 177 | -72.3327 | 2 | 3.9499 | 45 | 2.1739
12 | Wooding boards (dance floor) | [7 empty] | 3 | 9.3502 | 138 | -189.8734 | 2 | 3.9499 | 44 | -0.38363
13 | Wooding boards (dance floor) | [7 empty] | 1 | 0 | 140 | -183.8457 | 1 | 1.0597 | 47 | 7.289
14 | Wooding boards (dance floor) | [7 empty] | 1 | 0 | 195 | -18.0832 | 1 | 1.0597 | 36 | -20.844
15 | Wooding boards (dance floor) | [7 empty] | 2 | 4.6751 | 176 | -75.3466 | 0 | -1.8304 | 44 | -0.38363
16 | Wooding boards (dance floor) | [7 empty] | 2 | 4.6751 | 171 | -90.4159 | 2 | 3.9499 | 43 | -2.9412
17 | Wooding boards (dance floor) | [7 empty] | 3 | 9.3502 | 189 | -36.1664 | 1 | 1.0597 | 43 | -2.9412
18 | Wooding boards (dance floor) | [7 empty] | 1 | 0 | 165 | -108.4991 | 2 | 3.9499 | 37 | -18.2864
19 | Wooding boards (dance floor) | [7 empty] | 2 | 4.6751 | 183 | -54.2495 | 0 | -1.8304 | 37 | -18.2864

## Map
Survey No | INIS-103019-545
Date | 2019-10-28
Survey Tech | K. Whilte
Count Room Tech | P. Ray
Date Counted | 2019-10-30
Survey Type | Characterization
Level of Posting | None
Comments