## Scan and Data
Survey Number |  | INIS-061620-1794 |  |  | Item Surveyed |  | Outside decontamination on concrete in the Northeast RCA
Date Surveyed |  | 2020-06-16 |  |  | Comments
Survey Tech |  | L. Cuneo
Count Room Tech |  | J. Cuevas |  |  | Instrumentation
Date Counted |  | 2020-06-16 |  |  | Gamma | [5 empty] | Total Activity | [5 empty] | Removable Activity
Survey Type |  | Pre/Post Decontamination |  |  | Dose | CPM |  |  |  |  | Alpha |  |  | Beta-Gamma |  |  | Alpha |  |  | Beta-Gamma
Level Of Posting |  | RCA |  |  |  |  | Instrument Model |  |  |  | 2360/43-93 |  |  | 2360/43-93 |  |  | ASC-DP |  |  | ASC-DP
Building Material Background - cpm |  |  | Alpha | Beta |  |  | Instrument SN |  |  |  | 227404/PR389087 |  |  | 227404/PR389087 |  |  | 0920930 |  |  | 0920930
Brick |  |  | 3 | 407 |  |  | Cal Due Date |  |  |  | 2021-02-20 |  |  | 2021-02-20 |  |  | 2021-02-18 |  |  | 2021-02-18
Concrete |  |  | 2 | 228 | N/A |  | Instrument Efficiency |  |  |  | 21.83% |  |  | 36.02% |  |  | 22.52% |  |  | 37.57%
Linoleum |  |  | 1 | 187 | N/A |  | Probe Correction Factor |  |  |  | 1 |  |  | 1 |  |  | 1 |  |  | 1
Drywall |  |  | 1 | 162 |  |  | Background Count Time (min) |  |  |  | 1 |  |  | 1 |  |  | 60 |  |  | 60
Metal |  |  | 1 | 160 |  |  | Sample Count Time (min) |  |  |  | 1 |  |  | 1 |  |  | 1 |  |  | 1
Ceiling Tile |  |  | 2 | 293 |  |  | Instrument Background |  |  |  | 0 |  |  | 219 |  |  | 9 |  |  | 1687
Wood |  |  | 1 | 162 | N/A |  | MDC |  |  |  | See Below | [5 empty] | 19.0266 |  |  | 54.8045
Asphalt |  |  | N/A |  | Gamma |  | Total Activity | [9 empty] | Removable Activity
Note | *MDC & Net Activity displayed in dpm/100cm² |  |  |  | Dose | CPM | Alpha |  |  |  |  | Beta-Gamma |  |  |  |  | Alpha |  |  | Beta-Gamma
No | Description/Location |  |  |  | Gross µR/hr | Gross cpm | Gross Counts | Bldg Material Bkg | MDC* | Net cpm | Net Activity* | Gross Counts | Bldg Material Bkg | MDC* | Net cpm | Net Activity* | Gross Counts | Net cpm | Net Activity* | Gross Counts | Net cpm | Net Activity*
1 | Pre concrete decontamination | [5 empty] | 1 | 2 | 43.8846 | -1 | -4.5809 | 464 | 228 | 203.3736 | 236 | 655.1916 | 0 | -0.15 | -0.66607 | 24 | -4.1167 | -10.9573
2 | Post concrete decontamination | [5 empty] | 1 | 2 | 43.8846 | -1 | -4.5809 | 327 | 228 | 203.3736 | 99 | 274.8473 | 1 | 0.85 | 3.7744 | 19 | -9.1167 | -24.2658
3 | Pre concrete decontamination | [5 empty] | 1 | 2 | 43.8846 | -1 | -4.5809 | 1079 | 228 | 203.3736 | 851 | 2362.5763 | 0 | -0.15 | -0.66607 | 24 | -4.1167 | -10.9573
4 | Post concrete decontamination | [5 empty] | 3 | 2 | 43.8846 | 1 | 4.5809 | 354 | 228 | 203.3736 | 126 | 349.8057 | 0 | -0.15 | -0.66607 | 25 | -3.1167 | -8.2956
5 | Pre concrete decontamination | [5 empty] | 1 | 2 | 43.8846 | -1 | -4.5809 | 2253 | 228 | 203.3736 | 2025 | 5621.8767 | 0 | -0.15 | -0.66607 | 39 | 10.8833 | 28.9681
6 | Post concrete decontamination | [5 empty] | 0 | 2 | 43.8846 | -2 | -9.1617 | 349 | 228 | 203.3736 | 121 | 335.9245 | 0 | -0.15 | -0.66607 | 41 | 12.8833 | 34.2915
7 | Pre concrete decontamination | [5 empty] | 1 | 2 | 43.8846 | -1 | -4.5809 | 368 | 228 | 203.3736 | 140 | 388.673 | 0 | -0.15 | -0.66607 | 25 | -3.1167 | -8.2956
8 | Post concrete decontamination | [5 empty] | 1 | 2 | 43.8846 | -1 | -4.5809 | 278 | 228 | 203.3736 | 50 | 138.8118 | 0 | -0.15 | -0.66607 | 33 | 4.8833 | 12.998
9 | Pre concrete decontamination | [5 empty] | 0 | 2 | 43.8846 | -2 | -9.1617 | 483 | 228 | 203.3736 | 255 | 707.94 | 0 | -0.15 | -0.66607 | 31 | 2.8833 | 7.6746
10 | Post concrete decontamination | [5 empty] | 0 | 2 | 43.8846 | -2 | -9.1617 | 300 | 228 | 203.3736 | 72 | 199.889 | 1 | 0.85 | 3.7744 | 35 | 6.8833 | 18.3214
11 | Pre concrete decontamination | [5 empty] | 0 | 2 | 43.8846 | -2 | -9.1617 | 345 | 228 | 203.3736 | 117 | 324.8195 | 1 | 0.85 | 3.7744 | 23 | -5.1167 | -13.619
12 | Post concrete decontamination | [5 empty] | 2 | 2 | 43.8846 | 0 | 0 | 302 | 228 | 203.3736 | 74 | 205.4414 | 0 | -0.15 | -0.66607 | 29 | 0.88333 | 2.3512
13 | Pre concrete decontamination | [5 empty] | 0 | 2 | 43.8846 | -2 | -9.1617 | 375 | 228 | 203.3736 | 147 | 408.1066 | 0 | -0.15 | -0.66607 | 34 | 5.8833 | 15.6597
14 | Post concrete decontamination | [5 empty] | 1 | 2 | 43.8846 | -1 | -4.5809 | 341 | 228 | 203.3736 | 113 | 313.7146 | 0 | -0.15 | -0.66607 | 30 | 1.8833 | 5.0129
15 | Pre concrete decontamination | [5 empty] | 2 | 2 | 43.8846 | 0 | 0 | 323 | 228 | 203.3736 | 95 | 263.7424 | 0 | -0.15 | -0.66607 | 37 | 8.8833 | 23.6448
16 | Post concrete decontamination | [5 empty] | 1 | 2 | 43.8846 | -1 | -4.5809 | 352 | 228 | 203.3736 | 124 | 344.2532 | 0 | -0.15 | -0.66607 | 22 | -6.1167 | -16.2807
17 | Pre concrete decontamination | [5 empty] | 1 | 2 | 43.8846 | -1 | -4.5809 | 375 | 228 | 203.3736 | 147 | 408.1066 | 0 | -0.15 | -0.66607 | 33 | 4.8833 | 12.998
18 | Post concrete decontamination | [5 empty] | 1 | 2 | 43.8846 | -1 | -4.5809 | 326 | 228 | 203.3736 | 98 | 272.0711 | 0 | -0.15 | -0.66607 | 26 | -2.1167 | -5.6339
19 | Pre concrete decontamination | [5 empty] | 2 | 2 | 43.8846 | 0 | 0 | 327 | 228 | 203.3736 | 99 | 274.8473 | 0 | -0.15 | -0.66607 | 36 | 7.8833 | 20.9831
20 | Post concrete decontamination | [5 empty] | 1 | 2 | 43.8846 | -1 | -4.5809 | 339 | 228 | 203.3736 | 111 | 308.1621 | 0 | -0.15 | -0.66607 | 23 | -5.1167 | -13.619
Formulas:
Beta-Gamma = IF([Total Activity]="","",[Total Activity])
Beta-Gamma = IF([Removable Activity]="","",[Removable Activity])

## Scan and Data (2)
Survey Number |  | INIS-061620-1794 |  |  | Item Surveyed |  | Outside decontamination on concrete in the Northeast RCA
Date Surveyed |  | 2020-06-16 |  |  | Comments
Survey Tech |  | L. Cuneo
Count Room Tech |  | J. Cuevas |  |  | Instrumentation
Date Counted |  | 2020-06-16 |  |  | Gamma | [5 empty] | Total Activity | [5 empty] | Removable Activity
Survey Type |  | Pre/Post Decontamination |  |  | Dose | CPM |  |  |  |  | Alpha |  |  | Beta-Gamma |  |  | Alpha |  |  | Beta-Gamma
Level Of Posting |  | RCA |  |  |  |  | Instrument Model |  |  |  | 2360/43-93 |  |  | 2360/43-93 |  |  | ASC-DP |  |  | ASC-DP
Building Material Background - cpm |  |  | Alpha | Beta |  |  | Instrument SN |  |  |  | 227404/PR389087 |  |  | 227404/PR389087 |  |  | 0920930 |  |  | 0920930
Brick |  |  | 3 | 407 |  |  | Cal Due Date |  |  |  | 2021-02-20 |  |  | 2021-02-20 |  |  | 2021-02-18 |  |  | 2021-02-18
Concrete |  |  | 2 | 228 | N/A |  | Instrument Efficiency |  |  |  | 21.83% |  |  | 36.02% |  |  | 22.52% |  |  | 37.57%
Linoleum |  |  | 1 | 187 | N/A |  | Probe Correction Factor |  |  |  | 1 |  |  | 1 |  |  | 1 |  |  | 1
Drywall |  |  | 1 | 162 |  |  | Background Count Time (min) |  |  |  | 1 |  |  | 1 |  |  | 60 |  |  | 60
Metal |  |  | 1 | 160 |  |  | Sample Count Time (min) |  |  |  | 1 |  |  | 1 |  |  | 1 |  |  | 1
Ceiling Tile |  |  | 2 | 293 |  |  | Instrument Background |  |  |  | 0 |  |  | 219 |  |  | 9 |  |  | 1687
Wood |  |  | 1 | 162 | N/A |  | MDC |  |  |  | See Below | [5 empty] | 19.0266 |  |  | 54.8045
Asphalt |  |  | N/A |  | Gamma |  | Total Activity | [9 empty] | Removable Activity
Note | *MDC & Net Activity displayed in dpm/100cm² |  |  |  | Dose | CPM | Alpha |  |  |  |  | Beta-Gamma |  |  |  |  | Alpha |  |  | Beta-Gamma
No | Description/Location |  |  |  | Gross µR/hr | Gross cpm | Gross Counts | Bldg Material Bkg | MDC* | Net cpm | Net Activity* | Gross Counts | Bldg Material Bkg | MDC* | Net cpm | Net Activity* | Gross Counts | Net cpm | Net Activity* | Gross Counts | Net cpm | Net Activity*
21 | Pre concrete decontamination | [5 empty] | 0 | 2 | 43.8846 | -2 | -9.1617 | 339 | 228 | 203.3736 | 111 | 308.1621 | 0 | -0.15 | -0.66607 | 28 | -0.11667 | -0.31053
22 | Post concrete decontamination | [5 empty] | 1 | 2 | 43.8846 | -1 | -4.5809 | 325 | 228 | 203.3736 | 97 | 269.2948 | 0 | -0.15 | -0.66607 | 23 | -5.1167 | -13.619
23 | Pre concrete decontamination | [5 empty] | 0 | 2 | 43.8846 | -2 | -9.1617 | 679 | 228 | 203.3736 | 451 | 1252.0822 | 0 | -0.15 | -0.66607 | 29 | 0.88333 | 2.3512
24 | Post concrete decontamination | [5 empty] | 0 | 2 | 43.8846 | -2 | -9.1617 | 330 | 228 | 203.3736 | 102 | 283.176 | 0 | -0.15 | -0.66607 | 26 | -2.1167 | -5.6339
25 | Pre concrete decontamination | [5 empty] | 0 | 2 | 43.8846 | -2 | -9.1617 | 391 | 228 | 203.3736 | 163 | 452.5264 | 1 | 0.85 | 3.7744 | 28 | -0.11667 | -0.31053
26 | Post concrete decontamination | [5 empty] | 0 | 2 | 43.8846 | -2 | -9.1617 | 324 | 228 | 203.3736 | 96 | 266.5186 | 0 | -0.15 | -0.66607 | 28 | -0.11667 | -0.31053
27 | Pre concrete decontamination | [5 empty] | 1 | 2 | 43.8846 | -1 | -4.5809 | 360 | 228 | 203.3736 | 132 | 366.4631 | 0 | -0.15 | -0.66607 | 30 | 1.8833 | 5.0129
28 | Post concrete decontamination | [5 empty] | 4 | 2 | 43.8846 | 2 | 9.1617 | 331 | 228 | 203.3736 | 103 | 285.9522 | 0 | -0.15 | -0.66607 | 20 | -8.1167 | -21.6041
29 | Pre concrete decontamination | [5 empty] | 0 | 2 | 43.8846 | -2 | -9.1617 | 413 | 228 | 203.3736 | 185 | 513.6036 | 0 | -0.15 | -0.66607 | 30 | 1.8833 | 5.0129
30 | Post concrete decontamination | [5 empty] | 0 | 2 | 43.8846 | -2 | -9.1617 | 347 | 228 | 203.3736 | 119 | 330.372 | 1 | 0.85 | 3.7744 | 20 | -8.1167 | -21.6041
Formulas:
Beta-Gamma = IF([Total Activity]="","",[Total Activity])
Beta-Gamma = IF([Removable Activity]="","",[Removable Activity])

## Map
Survey Number | INIS-061620-1794
Date Surveyed | 2020-06-16
Survey Tech | L. Cuneo
Count Room Tech | J. Cuevas
Date Counted | 2020-06-16
Survey Type | Pre/Post Decontamination
Level Of Posting | RCA