## 2360-190602
| Survey No | INIS-102819-519 |  | Item Surveyed |  | Curtain Wall Window Room 426
| Date | 2019-10-25 |  | Comments |  | 1-5 North Window, 1-6 Middle Window, 11-15 South Window
| Survey Tech | D. Love
| Count Room Tech | P. Ray |  | Parameters |  | Gamma |  |  | Total Activity |  |  |  | Removable Activity
| Date Counted | 2019-10-28 |  |  |  | CPM | µR/hr | µRem/hr | Alpha |  | Beta-Gamma |  | Alpha |  | Beta-Gamma
| Survey Type | Characterization |  |  | Instrument Model |  | 2350-1 |  | 2360/43-93 |  |  |  | 2929/43-10-1
| Level of Posting | RMA/CA |  |  | Instrument SN |  | 260157 |  | 227413/PR295918 |  |  |  | 190602/PR199159
Notes |  |  | Total Activity |  | Cal. Due Date |  | 9/19/2020 |  | 2020-08-15 |  |  |  | 2020-06-05
PCF = Probe Correction Factor |  |  | dpm = (cpm - Bcpm)/(eff * PCF) |  | Efficiency |  |  |  | 21.12% |  | 75% |  | 34.6% |  | 39.1%
Tb = Background count time |  |  | Removable Activity |  | Background Counts |  | 9 |  | 1 |  | 154 |  | 28 |  | 2417
Ts = Sample count time |  |  | dpm = (cpm - Bcpm)/ eff |  | PCF |  |  |  | 1 |  | 1 |  | 1 |  | 1
Rb = Background count rate |  |  | *dpm results are per 100cm2 |  | Tb |  |  |  | 1 |  | 1 |  | 60 |  | 60
Bcpm = Background cpm |  |  |  |  | Ts |  |  |  | 1 |  | 1 |  | 1 |  | 1
MDCR = Minimum Detectable Count Rate (net cpm) |  |  |  | MDCR
MDC = Minimum Detectable Concentration (dpm per 100cm2) |  |  |  | MDC
No. | Descriptions |  |  |  |  | cpm | µR/hr | µRem/hr | gross counts | *dpm | gross counts | *dpm | gross counts | *dpm | gross counts | *dpm
1 | Left upper side - Side LAW:0/635, Sill LAW:1/1569 | [5 empty] | 17.3 |  | 0 |  | 935 |  | 0 |  | 92
2 | Right lower side - Side LAW:0/635, Sill LAW:1/1569 | [5 empty] | 17.8 |  | 1 |  | 798 |  | 0 |  | 98
3 | Top of window tray - Side LAW:0/635, Sill LAW:1/1569 | [5 empty] | 19 |  | 1 |  | 1455 |  | 2 |  | 338
4 | Left sill - Side LAW:0/635, Sill LAW:1/1569 | [7 empty] | 0 |  | 518 |  | 0 |  | 118
5 | Right sill - Side LAW:0/635, Sill LAW:1/1569 | [7 empty] | 1 |  | 684 |  | 2 |  | 271
6 | Left mid side - Side LAW:0/362, Sill LAW:1/684 | [5 empty] | 19.2 |  | 0 |  | 321 |  | 0 |  | 54
7 | Right lower side - Side LAW:0/362, Sill LAW:1/684 | [5 empty] | 14.4 |  | 1 |  | 274 |  | 1 |  | 46
8 | Top of window tray - Side LAW:0/362, Sill LAW:1/684 | [5 empty] | 15.6 |  | 0 |  | 1038 |  | 1 |  | 555
9 | Left sill window - Side LAW:0/362, Sill LAW:1/684 | [7 empty] | 0 |  | 293 |  | 0 |  | 56
10 | Right sill window - Side LAW:0/362, Sill LAW:1/684 | [7 empty] | 0 |  | 277 |  | 1 |  | 58
11 | Left lower window - Side LAW:0/350, Sill LAW:0/408 | [5 empty] | 12.8 |  | 0 |  | 375 |  | 0 |  | 48
12 | Right upper window - Side LAW:0/350, Sill LAW:0/408 | [5 empty] | 13.3 |  | 0 |  | 427 |  | 0 |  | 36
13 | Top frame - Side LAW:0/350, Sill LAW:0/408 | [7 empty] | 0 |  | 547 |  | 0 |  | 215
14 | Left sill window - Side LAW:0/350, Sill LAW:0/408 | [5 empty] | 14.3 |  | 1 |  | 215 |  | 0 |  | 47
15 | Right sill window - Side LAW:0/350, Sill LAW:0/408 | [7 empty] | 0 |  | 199 |  | 0 |  | 57
Reviewed by:______________________ Date:_______________

## Map (2)
Survey No | INIS-102819-524
Date | 2019-10-26
Survey Tech | D. Love
Count Room Tech | P. Ray
Date Counted | 2019-10-28
Survey Type | Characterization
Level of Posting | RMA/CA
Comments

## Map (3)
Survey No | INIS-102819-524
Date | 2019-10-26
Survey Tech | D. Love
Count Room Tech | P. Ray
Date Counted | 2019-10-28
Survey Type | Characterization
Level of Posting | RMA/CA
Comments

## Map (4)
Survey No | INIS-102819-524
Date | 2019-10-26
Survey Tech | D. Love
Count Room Tech | P. Ray
Date Counted | 2019-10-28
Survey Type | Characterization
Level of Posting | RMA/CA
Comments

## Map (5)
Survey No | INIS-102819-524
Date | 2019-10-26
Survey Tech | D. Love
Count Room Tech | P. Ray
Date Counted | 2019-10-28
Survey Type | Characterization
Level of Posting | RMA/CA
Comments

## Map (7)
Survey No | INIS-102819-524
Date | 2019-10-26
Survey Tech | D. Love
Count Room Tech | P. Ray
Date Counted | 2019-10-28
Survey Type | Characterization
Level of Posting | RMA/CA
Comments

## Map (6)
Survey No | INIS-102819-524
Date | 2019-10-26
Survey Tech | D. Love
Count Room Tech | P. Ray
Date Counted | 2019-10-28
Survey Type | Characterization
Level of Posting | RMA/CA
Comments